## Slide 1
Marco Durante
Biomedical Applications of Radioactive ion Beams: First results of the BARB project at GSI
www.gsi.de/BARB

## Slide 2
Bragg peak in therapy
Durante, Br. J. Cancer 2019

## Slide 3
Range uncertainties

## Slide 4: Range uncertainty jeopardizes the Bragg peak precision
Durante & Flanz, Semin. Oncol. 2019
Total margins ∼ 1 cm compared to a proton penumbra ∼ 2 mm
Verellen et al., Nat. Rev. Cancer. 2007

## Slide 5: In situ control with PET @GSI
dose plan
measured
Fiedler et al., Phys. Med. Biol. 2010

## Slide 6
Radioactive Ion Beams (RIB) for simultaneous treatment and range verification
Boscolo et al. Front. Oncol. 2020
Improved count rate (one order of magnitude larger than for stable ions)
Improved correlation between activity and dose
Reduced washout blur thanks to short lived isotopes
Respect to conventional PET imaging in heavy ion therapy, RIBs show:
Hampered by the low intensities achievable RIB therapy is now revived thanks to the construction of therapy compatible high-intensity accelerators. e.g. FAIR Phase 0 at GSI (Darmstadt, Germany)

## Slide 7
BARB project (www.gsi.de/BARB)

## Slide 8
RIBs at GSI-FAIR
FAIR Phase 0: upgrade of the SIS-18 accelerator at GSI
SIS18
FRS
Cave M
Commissioning of FRS-CAVE M (medical cave) beam line:
oxygen beams (June 2021):
Transmission FRS-Cave M 15O: 6%
15O in Cave M per 16O in SIS18: 6e-4
RIBs candidates at FRagment Separator (FRS):
Isotope | 12C | 11C | 10C | 16O | 15O | 14O
Half-life, min | stable | 20.4 | 0.32 | stable | 2 | 1.17
Intensities | ~ 106–109 particles per spill |  |  |  |  | 

## Slide 9
First experiments at FRS and in Cave M
Isotope | 12C | 11C | 10C | 16O | 15O | 14O
Phantom | PMMA, PE |  |  | PMMA |  | 
Energy | ~ 270, 145, 240 MeV/u |  |  | ~ 300,170 MeV/u |  | 
PET setup
Degrader
Target area
Middle focal pane
Final focal pane
Experimental setup for dosimetry and PET imaging

## Slide 10
Monochromaic mode
Chart: depth in water [mm]
Chart: 
Achromatic mode
Boscolo et al., Nucl. Instr. Meth. under revision
Bragg Curves and ranges in water have been measured in all the experiments conditions with a water column.
IC1 Reference measurement
IC2
measurement position
Beam (FRS)
Depth dose profiles measurements

## Slide 11
FRS: FRagment Separator at GSI, Darmstadt
PET imaging: Dual panel PET scanner. Univ. Med. Center Groningen
Univ. Med. Center Groningen
dual panel PET scanner
Monitor IC
Beam (FRS)
imaging phantom
In-beam PET imaging with a SIEMENS scanner

## Slide 12
In-beam PET imaging with SIRMIO detector

## Slide 13
Planned biological experiments in 2023-2024
In vitro:
Any unexpected difference in RBE?
RIBs for therapy: can we efficiently kill the tumor with reduced field size?
RIBs as in vivo Tracers: role of vascular damage in single-fraction high-dose radiotherapy?
In vivo:
Simulation: TRiP98, GSI

## Slide 14: Achieving sub-mm precision in vivo
Boscolo et al. Front. Oncol. 2020

## Slide 15: RIB as tracers
Boscolo et al. Front. Oncol. 2020
Kolesnik et al., Science 2008
Brown et al., Int. J. Radiat. Oncol. Biol. Phys. 2013

## Slide 16: Conclusions
Radioactive ion beams might be an ideal bullet for image-guided radiotherapy: they are expected to improve the precision treatments and thus widen the therapeutic window
In FAIR-phase-0, RIBs can be produced with clinical intensities
The main objective of BARB is to introduce a new method for image-guided particle therapy, using radioactive ion beams as projectiles for treatment and online imaging.
The ambition is to fully exploit the Bragg peak and improve the precision and image-guidance, giving the opportunity to treat new targets in oncology and non-malignant diseases.
First experimental campaign took place in 2021; biological experiments will follow in 2023-2024 also to exploit RIBs as radioactive tracers

## Slide 17
Acknowledgements
…and thank you for the attention!